## parameters
parameters | value
allow_complex | 1
allow_indels | 1
allow_mnps | 1
allow_snps | 1
data_quality_stringency | 5
do_mnp_realignment | 1
do_snp_realignment | 1
downsample_to_coverage | 4000
filter_deletion_predictions | 0.3
filter_insertion_predictions | 0.3
filter_unusual_predictions | 0.3
gen_min_alt_allele_freq | 0.02
gen_min_coverage | 6
gen_min_indel_alt_allele_freq | 0.1
heavy_tailed | 3
hotspot_min_allele_freq | 0.02
hotspot_min_cov_each_strand | 0
hotspot_min_coverage | 5
hotspot_min_variant_score | 6
hotspot_strand_bias | 1
hotspot_strand_bias_pval | 0.01
hp_max_length | 15
indel_as_hpindel | 0
indel_min_allele_freq | 0.02
indel_min_cov_each_strand | 4
indel_min_coverage | 10
indel_min_variant_score | 6
indel_strand_bias | 1
indel_strand_bias_pval | 1
kmer_len | 19
max_hp_length | 15
min_indel_size | 4
min_mapping_qv | 4
min_var_count | 4
min_var_freq | 0.1
mnp_min_allele_freq | 0.02
mnp_min_cov_each_strand | 0
mnp_min_coverage | 6
mnp_min_variant_score | 6
mnp_strand_bias | 1
mnp_strand_bias_pval | 0.01
outlier_probability | 0.005
output_mnv | 1
override | 1
position_bias | 0.75
position_bias_pval | 0.05
position_bias_ref_fraction | 0.05
prediction_precision | 1
read_max_mismatch_fraction | 1
read_snp_limit | 10
realignment_threshold | 1
relative_strand_bias | 1
short_suffix_match | 5
snp_min_allele_freq | 0.02
snp_min_cov_each_strand | 0
snp_min_coverage | 5
snp_min_variant_score | 6
snp_strand_bias | 1
snp_strand_bias_pval | 0.01
sse_prob_threshold | 1
suppress_recalibration | 0
trimreads | true
ts_version | 5
use_position_bias | 0

## legends
Main settings
The first five parameters support different thresholds for SNP, indel, and hotspot variants. The others use the same thresholds for all variant types.
Parameter | Comments
Minimum allele frequency | Minimum observed allele frequency required for a non-reference variant call.
min_allele_freq | Lowering this value improves sensitivity and decreases specificity (and increases the ratio of false positives to true positives).
Allowed values: Floats 0.0 - 1.0 Recommended values for SNPs: Between 0.01 - 0.2 Recommended values for indels: Between 0.05 - 0.2
Minimum quality | Do not call variants if the phred-scaled call quality is below this value.
min_variant_score | Lowering this value improves sensitivity and decreases specificity.
Allowed values: Integers >= 0 Recommended values: >= 10
Minimum coverage | Do not call variants if the total coverage on both strands is below this value.
min_coverage | For germ line workflows, lowering coverage improves sensitivity.
Lowering this value is dangerous for homopolymer indels this decreases specificity drastically.
Allowed values: Integers >= 0 Recommended values for SNPs: Between 5 - 20 Recommended values for indels: Between 15 - 30 Recommended values for hotspots: Between 5 - 20
Minimum coverage on either strand | Do not call variants if coverage on either strand is below this value.
min_cov_each_strand | For indel calling, reducing this value improves sensitivity but at a high cost of specificity.
Allowed values: Integers >= 0 Recommended values: >= 3
Maximum strand bias | Do not call variants if the proportion of variant alleles comes overwhelmingly from one strand.
strand_bias | Allowed values: Floats 0.5 - 1.0 Recommended values for SNPs: 0.95 Recommended values for indels: 0.85 Recommended values for hotspots: 0.95
Increasing strand bias increases sensitivity. SNP calling tolerates this adjustment better than indel calling. Related to VCF field STB.
Minimum relative read quality | Do not call variants if Relative Read Quality is below this threshold. A phred-scaled minimum average evidence per read or no-call.
data_quality_stringency | Allowed values: Floats >= 0 Recommended values: >= 6.5
Impact of changing this value: Lowering this value improves sensitivity and decreases specificity. Related to VCF field MLLD.
Maximum common signal shift | Do not call variants if Common Signal Shift exceeds this threshold. If the predictions are distorted to fit the data more than this distance (relative to the size of the variant), filter this candidate position out. Allowed values: Floats >= 0 Recommended: 0.3 = 30% of variant change size. Related to VCF field RBI.
filter_unusual_predictions
Maximum reference/variant signal shift (insertions) filter_insertion_predictions | Do not call insertions if Reference or Variant Signal Shift exceeds this threshold.Filter observed clusters that deviate from predictions by more than this amount (relative to the size of the variant).
Allowed values: Floats >= 0 Recommended: 0.2 (which is 20% of variant change size). Related to VCF fields VARB and REFB.
Maximum reference/variant signal shift (deletions) filter_deletion_predictions | Do not call deletions if Reference or Variant Signal Shift exceeds this threshold.
Filter observed clusters that deviate from predictions by more than this amount (relative to the size of the variant).
Allowed values: Floats >= 0 Recommended: 0.2 (which is 20% of variant change size). Related to VCF fields VARB and REFB.
Torrent Variant Caller advanced parameters
Parameter | Comments
hp_max_length | Maximum homopolymer length for calling indels.
Allowed values: Integers >= 1 Recommended value: 8
Related to VCF field HRUN.
downsample_to_coverage | Reduce coverage in over-sampled locations to this value.
Allowed values: Integers>= 1 Recommended values: 400 (germline), 2000 (somatic)
outlier_probability | Prior probability that a read comes from some other distribution.
Lower numbers reduce the influence of outlier observations. Higher numbers increase the influence of outliers. Empirical adjustment indicates that increasing the influence of outliers leads to more false-positives and slightly more true positives, but at a poor tradeoff.
Allowed values: Floats 0.0 - 1.0 Recommended values: Between 0.005 - 0.01
do_snp_realignment | Realign reads in the vicinity of SNP candidates.
Allowed values:
0: Do no realign. Recommended for germline.
1: Realign. Recommended for somatic.
prediction_precision | Number of pseudo-data-points suggesting our predictions match the measurements without bias.
Allowed values: Floats >= 0.0
Recommended value: 1.0
Impact of changing this value: Lowering this value increases specificity and decreases sensitivity.
heavy_tailed | How heavy the T-distribution tails are to allow for unusual spread in the data. This value represents the prior probability that a given read comes from some distribution other than the possibilities being evaluated.
Lower values mean that more reads are forced to be assigned to one of the tested alleles, even at very poor data fit (fewer reads are thrown out, with the likely tradeoff of more false positive calls). Higher values mean that reads that are merely slightly noisy are thrown away, resulting in poorer sensitivity.
The proportion of reads that are discarded as outliers is shown in the FXX info tag in the output VCF file.
suppress_recalibration | Ignore the base recalibration values from pipeline in TVC. (Changes the way signal is predicted.)
Allowed values:
0: Use base calibration values in TVC. Recommended for Ion Proton™ data.
1: Ignore base calibration values in TVC.
hotspot_strand_bias_pval | First we calculate a bootstrap estimate of the pval to test significance of observed strand bias against the null hypothesis of no strand bias.
indel_strand_bias_pval | If this pval estimate is lower than the parameter value (hotspot, indel, mnp or snp_strand_bias_pval) and the observed strand bias is higher than the hotspot, indel, mnp or snp_strand_bias then this variant will be filtered.
mnp_strand_bias_pval | Lowering this value makes filtering less stringent.
snp_strand_bias_pval | Allowed values:
0-1
Default value:
1
mnp_min_allele_freq | Minimum observed allele frequency required for a non-reference variant call. Lowering this value improves sensitivity and decreases specificity (and increases the ratio of false positives to true positives).
Allowed values:
0.0-1.0
Default value:
0.01-0.2
mnp_min_variant_score | Do not call variants if the phred-scaled call quality is below this value.Lowering this value improves sensitivity anddecreases specificity.
Allowed values:
integers >=0
Default value:
>=10
mnp_min_cov_each_strand | Do not call variants if coverage on either strand is below this value. For indel calling, reducing this value improves sensitivity but at a high cost of specificity.
Allowed values:
integers >=0
mnp_min_coverage | Do not call variants if the total coverage on both strands is below this value.For germ line workflows, lowering coverage improves sensitivity. Lowering this value is dangerous for homopolymer indels - this decreases specificity drastically.
Allowed values:
integers >=0
Default value:
2020-05-01
mnp_strand_bias | Do not call variants if the proportion of variant allelesfrom one strand if higher than this ratio.
Allowed values:
0.5-1.0
Default value:
0.95
do_mnp_realignment | Realign reads in the vicinity of candidate mnp variants.
Allowed values:
0 = off
1 = on
realignment_threshold | Maximum allowed fraction of reads where realignment causes an alignment change
Allowed values:
0-1
Default value:
1
use_position_bias | Enables the position bias filter.
Allowed values:
0-1
Default value:
0
position_bias | Filter out variants with position bias relative to soft clip ends in reads > position-bias given pval < postion-bias-pval.
Allowed values:
0-1
Default value:
0.75
position_bias_pval | Filter out if position bias > position-bias given pval < position-bias-pval.
Position_bias_pval is threshold for filtering if the pval for testing whether the position-bias is statistically significant against the null hypothesis of no position bias is lower than the threshold and the position_bias is higher than the position_bias threshold.
Note that filtering only occurs if both the pval and the position bias is higher than the position_bias_pval and the position bias is higher than position_bias.
Lowering this value makes filtering less stringent.
Allowed values:
0-1
Default value:
0.05
position_bias_ref_fraction | Skips position bias filtering if (reference read count)/ (reference + alt allele read count) <= to this value.
Lowering this value makes filtering more stringent.
Allowed values:
0-1
Default value:
0.05
sse_prob_threshold* | Filters out variants in motifs with error rates above this. Advanced filtering: read the docs before changing.
Allowed values:
0-1
Default value:
0.2
indel_as_hpindel | Apply indel filters to non HP indels.
Allowed values:
0 = on
1 = off
Default value:
0